온라인 공정확인과 PID 제어기의 자동동조

성수환, 이인범

포항공과대학교 화학공학과, 환경공학부

##### On-line Process Identification and Automatic Tuning of PID Controllers

Su Whan Sung and In-Beum Lee

Department of Chemical Engineering, School of Environmental Engineering, POSTECH

1. Introduction

Even though many advanced controllers using process model have been developed during past decade, PID controllers still are most popular in process control field. We can explain these aspects by considering the following good properties. Even though the PID controller is very simple, it can treat usual processes with acceptable performances. Also, it shows good robustness to uncertainties such as noises, disturbances, modeling errors (variation of adjustable parameters). Moreover, other model-based PID controllers such as Smith predictor or cascade control much contribute to improve the control performances for long time delay or disturbance rejection processes.

Recently, many on-line process identification and simple tuning methods have been developed for the automatic design of the PID controller. In this study, we review previously proposed simple tuning rules and several typical on-line process identification methods developed for the automatic design of the PID controller to classify scattered results and to suggest guidelines for future researches. But, considering confined space, we would only cite what have been developed typically for last decade in this writing. Detailed analysis on advantages and disadvantages of each method and guidelines for future work would be discussed in the oral presentation. Also, limitations of discrete-time identification methods in identifying a continuous-time model would be discussed in later.

Roughly speaking, on-line process identification methods can be classified as follows. 1. Relay feedback identification methods. 2. P-control identification methods. 3. Identification method using transform. If we once identified the process we can calculate the tuning parameters of the PID controller using a model reduction method (Sung and Lee (1996a)) and tuning rules (IMC, Cohen-Coon, ITAE-1, ITAE-2(Sung et al.(1996)).

2. On-line Process Identification Methods

2-1. Relay Feedback Identification Methods

These methods utilize the process output and the process input activated by a relay. We can infer easily the meaningful time scale of the process by reading the period of the relay feedback directly. The process activation method by using relay was created originally by Åström and Hägglund (1984). In the original method, they approximated the process output and the relay output (square signal) to a sine signal through Fourier approximation (describing function analysis) and next, they derived the equation to calculate the ultimate gain and the ultimate frequency. Using the equation, they identified very simply the ultimate gain and the ultimate frequency of the process from the measured period of the relay and the peak value of the process output. So, their method has been applied widely in industry and commercially available. Moreover, many authors have exerted their efforts to improve this method.

Sung et al. (1995) and Shen et al. (1996a) proposed a modified relay feedback method to obtain the ultimate information of the process more accurately. Here, Sung et al. (1995) use a six-step-signal rather than a two-step-signal of the original relay feedback method. Then, the output of the relay is more similar to a sine signal compared with the original relay so that the obtained ultimate data set is more accurate. Shen et al. (1996b) proposed a biased relay feedback method to identify the zero frequency information as well as the ultimate information of the process. Kim (1995) and Tan et al. (1996) identified the desired frequency information by inserting a time delay term to the relay output. Hang et al. (1996), Park et al. (1997) and Shen et al. (1996c) proposed an improved strategy to reject the effects of disturbances. Here, they biased the reference value of the relay output as much as the disturbance then the same accuracy in the case of no disturbance can be achieved. Sung and Lee (1997a) used the Fourier Analysis instead of the describing function analysis of existing methods to estimate the frequency information of the process from the measured process output and process input of the relay feedback test. Their strategy guarantees more accurate identification results and improved robustness for disturbances compared with the previous describing analysis method. Sung and Lee (1997b) developed a new identification algorithm to identify all wanted frequency information from one relay feedback test. Here, they used a newly developed transform to extract the desired frequency information and they analyzed the effects of disturbances and noises in the identification of the frequency data set. It shows better robustness for disturbances and better model accuracy compared with previously proposed relay feedback identification method.

2-2. P-control Identification Methods

These methods are to obtain the first order plus time delay model or the second order plus time delay model to approximate the process dynamics. It was developed initially by Yuwana and Seborg (1982). Here, the process is activated by changing the set point of the proportional (P) controller. Then, the model is obtained from measured several data points of the activated process output. Many similar methods using the P controller as test signal generator have been proposed (Jutan and Rodriguez (1984), Lee (1989), Chen (1989), Sung et al. (1994), Lee and Sung (1993), Sung et al. (1996), Lee et al. (1990), Hwang (1995), Park et al. (1997a), Park et al. (1997b)).

The procedures of these methods can be summarized as follows. In the first step, operator implements a P controller. Second, a step set point change is performed to activate the process. Third, the closed-loop response is approximated to a simple model using well-known properties of the model for step input. Fourth, the process model is estimated from the approximated closed-loop transfer function model. That is, they approximate the closed-loop response using a simple transfer function and indirectly estimate the model from the approximated closed-loop transfer function and the known controller gain. Here, several authors (Jutan and Rodriguez (1984), Lee (1989), Chen (1989), Sung et al. (1994)) used the first order plus time delay model. On the other hand, Hwang (1995), Park et al. (1997a), Park et al. (1997b) used the second order plus time delay model. The methods using the first order plus time delay model cannot represent an under-damped process or a high order process. So, it is more desirable to use the second order plus time delay model as the process model in the viewpoint of model accuracy. But, the methods using this second order plus time delay model among P-control identification methods are more complicate and impractical compared with those using the first order plus time delay model.

2-3. Identification Methods using Transform

Above-mentioned identification approaches can be applied to only the activated process by relay or P controller. Also, the obtained model is a low order plus time delay model. Recently, many methods have been developed which can be applied regardless of the type of test signal generators and provide more accurate and higher order process model. According to circumstances, operators would prefer another specified test signal generator and more accurate process model so that these methods can be more useful. Usually, these identification methods use a transform to change the differential equation to an algebraic equation. For example, Sung and Lee (1996b), Sung et al. (1997a) and Kwak et al. (1997) used the following exponential weighting integral transform.

Here,  and  denote a complex number and the transformed . If we apply the above-mentioned transform to the differential equation (the model) the corresponding algebraic equation can be obtained. Then, we can obtain many algebraic equations for various  values so that we can estimate simply the coefficients of the model (the differential equation) by using the least square method. Here, if we choose the real part of  as a positive value the initial part of the activated process data would be considered mainly in estimating the coefficients. On the other hand, the imaginary part of  value would represent the frequency region considered mainly for the identification. Another identification method (Sung et al. (1997b)) using the integral transform is possible. In all above-mentioned methods, initial values of the process output and the process input should be zero. However, the initial values would be nonzero frequently. We can use the following transform including a ball-shaped weighting function to overcome these initial value problems. (Sung et al. (1997c))

Here, if the weighting function () satisfies the following condition, the initial value problems can be overcome automatically.

n and  denote the highest order of the process model and the frequency weighting.

Detailed considerations for each method and limitations of discrete-time identification methods would be discussed in later.

Acknowledgment

This work was supported in part by the Korea Science and Engineering Foundation (KOSEF) through the Automation Research Center at Pohang University of Science and Technology.

References

Åström K.J. and Hägglund T., Automatic Tuning of Simple Regulators with Specifications on Phase and Amplitude Margins, Automatica, 20, 645, 1984

Chen C., A Simple Method for On-Line Identification and Controller Tuning, AIChE J., 35, 2037, 1989

Hang C. C., Åström K. J. and Ho W.K., Relay Auto-tuning in the Presence of Static Load Disturbance, Automatica, 29, 563, 1993

Hwang S., Closed-Loop Automatic Tuning of Single-Input-Single-Output Systems, Ind. Eng, Chem. Res., 34, 2406, 1995

Jutan A. and Rodriquez II E.S., Extension of a New Method for On-Line Controller Tuning, Can. J. Chem. Eng., 62, 802, 1984

Kawk H.J., Sung S.W. and Lee I., On-Line Process Identification and Autotuning for Integrating Processes, Ind. Eng. Chem. Res., 1997, in press

Kim Y.H., PI Controller Tuning Using Modified Relay Feedback Method, J. Chem. Eng. Japan, 28, 118, 1995

Lee J., On-Line PID Controller Tuning from a Single, Closed-Loop Test, AIChE J., 35, 329, 1989

Lee J., Cho W. and Edgar T.F., An Improved Technique for PID Controller Tuning from Closed-Loop Tests, AIChE J., 36, 1891, 1990

Lee J. and Sung S.W., Comparison of Two Identification Methods for PID Controller Tuning, AIChE J., 39, 695, 1993

Park H.I., Sung S.W., Lee J. and Lee I., A Simple Autotuning Method using Proportional Controller, Chem. Eng. Comm.,161, 163, 1997a

Park H.I., Sung S.W., Lee J. and Lee I.,On-line Process Identification Using the Laguerre Series for Automatic Tuning of the Proportional-Integral-Derivative Controller, Ind. Eng. Chem. Res., 36, 101, 1997b

Park J., Sung S.W. and Lee I., Improved Relay Feedback with Static Load Disturbance, Automatica ,33,711,1997

Shen S., Yu H. and Yu C., Use of Saturation-Relay Feedback for Autotune Identification,    Chem. Eng. Sci., 51, 1187, 1996a

Shen S., Wu J. and Yu C., Use of Biased-Relay Feedback for System Identification, AIChE J., 42, 1174,1996b

Shen S., Wu J. and Yu C., Autotune Identification under Load Disturbance, Ind. Eng. Chem. Res., 35, 1642,1996c

Sung S.W. and Lee I., Limitations and Countermeasures of PID Controllers, Ind. Eng. Chem. Res., 35, 2596, 1996

Sung S.W. and Lee I., Enhanced Relay Feedback Method, Ind. Eng. Chem. Res., 1997a, in press

Sung S.W. and Lee I., Improved Relay Feedback Method, Automatica, 1997b, submitted

Sung S.W. and Lee I., On-Line Process Identification Method and Automatic Tuning of PID Controllers, Computers Chem. Eng., 1996, in revision

Sung S.W., Kwak H.J. and Lee I., A New Process Identification Method for Automatic Tuning of PID Controllers, Int. J. Cont.,1997a, submitted

Sung S.W., Lee B. and Lee I., On-line Process Identification and Automatic Tuning Method for PID Controllers, Chem. Eng. Sci.,1997b, in revision

Sung S.W., Jitae Lee and Lee I., New Process Identification Method for Automatic Design of PID Controllers, Automatica,1997c, submitted

Sung S.W., O J., Yu S., Lee J. and Lee I., Automatic Tuning of PID Controller using Second Order Plus Time Delay Model, J. Chem. Eng. Japan, 29, 990, 1996

Sung S.W., Park J. and Lee I., Modified Relay Feedback Method, Ind. Eng. Chem. Res., 34, 4133, 1995

Sung S.W., Park H.I., Lee I. and Yang D.R., On-Line Process Identification and Autotuning Using P-Controller, First Asian Cont. Conf., 1, 411, 1994

Tan K. K., Lee T. H. and Wang Q. G., Enhanced Automatic Tuning Procedure for Process Control of PI/PID Controllers, AIChE J., 42, 2555, 1996

Yuwana M. and Seborg D.E., A New Method for On-Line Controller Tuning, AIChE J., 28, 434, 1982